Motion Detector Calibration

- Please do no remove this sheet from the table.

- Follow these instructions only if you open a Logger Pro file which involves measuring distances using a motion detector.

- You need to follow this calibration procedure before you start the experiment.

## You are probably aware that the motion detector detects the position of a target by sending and receiving sound pulses. To guarantee that the motion detector measures the correct distance one needs to calibrate it.

## Calibration is done by communicating to the motion detector the speed of sound in the room. It turns out that the speed of sound depends on the temperature of the room. Thus, in order for the motion detector to correctly determine the speed of sound one needs to communicate to the motion detector the temperature of the room.

## Follow the instructions below to calibrate the motion detector.

### Open the Logger Pro file that you will be working with. Remember, the calibration needs to be done only if the file uses a motion detector.

### Make sure a motion detector is connected to PORT2 of the interface box.

### On the Logger Pro main menu, click on Experiment and then choose Calibrate…

### On the window that pops open click on PORT2 and make sure it is highlighted. There should be a black border enclosing the icon. See Figure 1.

Figure 1

### Click on Details.

### On the window that opens up (see Figure 2), click on Unlock.

Figure 2

### In the space next to Temp(C) enter the current room temperature provided to you by the lab instructor.

### Click on Lock and then click OK.

## You are done with calibrating the motion detector. You may now return to your experiment.